Harvest

DEEP-BLUE4.Q--

'n-type Bifacial Double Glass

High Efficiency Mono Module

JAM78D40 600-625/MB

(IFItF8ciTctiÔîl

Power by the tastest SMBB n-type solar ccll, half-cell configuration. these Inodules have higher output power. lower L ID, better u,veak illumination response- and botter ternpcrature coefficient.

| Higher power generation |  | n-type with very Lower LID |  |
| --- | --- | --- | --- |
| better LCOE |  |  |  |
| Better weak | illumination response | Better Temperature Coefficient |  |

Superior Warranty

- 12-year product warranty

- 30-year linear power output warranty

Comprehensive Certificates

- IEC 61215, IEC 61730 ISO 9001

  - 2015 Quality management systems

- ISO 14001: 2015 Environmental management systenns

- ISO 45001: 2018 Occupational health and safety management systenns

• IEC 62941 : 2019 Terrestrial photovoltaic (PV) modules -

Quality system for PV module manufacturing

n-type Bifacial Double Glass Module	•  Standard Module Linear

Linear Performance Warranty	Performance Warranty

-JAs@LAR	www.jasolar.com

Soecificat-ons suojcct '.o tec.nnlcal chanqcs and tcs:s.

JA Sola- reserves

right af ânal Interpt-e.atiorl_ O

-JAsoLAR

MECHANICAL DIAGRAMS

1134*2

20:1

R3.5

20:1

ndh9 hdes

*cts	for twles 4

hdes

holee

Remat« customizcd frame color and caole Icnath availablc• -poe reques:

ELECTRICAL PARAMETERS AT   STC

| TYPE | JAM78D40 |
| --- | --- |
|  | -600/M8 |

Rated  Maximum Power(Pmax)	[WI

600

Open Circuit Voltage(Voc)	[V]

54.75

Maximum Power Voltage(Vmp)	[V]

45.67

Short Circuit Current(lsc)	[Al

JAM78D40

SPECIFICATIONS

|  |  |  |  |  | Mono-16BB |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Weight |  |  | 34.6kg |  |
|  |  | Dimensions |  |  |  |  |
|  | mm | Cable Cross Section Size |  | 4mm2 (IEC), 12 AWG(UL) |  |  |
|  | 10:1 |  |  |  |  |  |
|  |  | No. of cells |  |  | 156(6x26) |  |
|  |  | Junction Box |  |  | IP68. 3 diodes |  |
|  |  | Connector |  | QC 4.10-351/ MC4-EV02A |  |  |
|  | ShN1 frame |  |  | Portrait: |  |  |
|  |  | Cable Length |  |  |  |  |
|  |  |  |  | Landscape. |  |  |
|  |  | (Including Connector) |  |  |  |  |
|  | fr•w | Front Glass/Back Glass |  |  | 2.0mm/2.Omm |  |
|  |  | Packaging Configuration |  |  | 31 pcs/Pallet. |  |
|  |  |  |  | 496pcs/40HQ Container |  |  |
| JAM78D40 | JAM78D40 | JAM78D40 | JAM78D40 |  | JAM78D40 |  |
| -605/MB | -610/MB | -615/MB |  | -620/MB | -625/MB |  |
| 605 | 610 | 615 |  | 620 | 625 |  |
| 54.90 | 55.05 | 55.20 |  | 55.34 | 55.49 |  |
| 45.80 | 45.94 | 07 |  | 46.20 | 46.37 |  |
| 14.09 | 14.16 |  |  | 14.30 | 14.36 |  |
|  |  | 13.35 |  | 13.42 | 13.48 |  |

|  |  |  |  |  | 1421.02.5 |  | 21.6 | 21.8 |  | 22.0 | 22.2 | 22.4 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Maximum Power |  | Current(lmp) |  | [Al |  |  |  |  |  | o-+5W |  |  |  |
| Module Effciency |  | [0/0] |  |  |  |  |  |  |  |  |  |  |  |
| Power Tolerance |  |  |  |  |  |  |  |  | +0.046%/'C |  |  |  |  |
| Temperature | Coemcient |  | of Isc(a_lsc) |  |  |  |  |  | -o.260D/orc |  |  |  |  |
| Temperature | Coemcient |  | of |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | -o.300%/0C |  |  |  |  |
| Temperature | Coemcient |  | of |  |  |  |  |  |  |  |  |  |  |
| STC |  |  |  |  |  |  |  | Irradiance 1000W/m2, cell temperature 250C, AMI .5G |  |  |  |  |  |
| Remark: Electrical data in this catalog do not refer to a single module and they are not part of the offer.They only serve for comparison among different module types. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ELECTRICAL CHARACTERISTICS |  |  |  |  | WITH 100/0 SOLAR IRRADIATION RATIO |  |  |  |  | OPERATING CONDITIONS |  |  |  |
| TYPE |  |  |  | JAM78D40-600/MB | JAM78D40-605/MB JAM78D40-610/MB JAM78D40-615/MB JAM78D40-620/MB |  |  |  | JAM78D40-625/MB | Maximum System Voltage |  | 1500V DC |  |
| Rated Max Power(Pmax) [W] |  |  |  | 648 | 653 | 659 | 664 | 670 | 675 | Operating Temperature |  | -400C—+850C |  |
| Open Circuit Voltage(Voc) [V] |  |  |  | 54.78 | 54.93 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | 55.08 | 55.23 | 55.37 | 55.51 | Maximum Series Fuse Rating |  | 30A |  |
| Max Power Voltage(Vmp) [V] |  |  |  | 45.66 | 45.80 | 45.93 |  | 46.20 | 46.36 | i |  | 25400Pa 50112lb/ft2) |  |
|  |  |  |  |  |  |  |  |  |  | Maximum Statiic |  |  |  |
| Short Circuit Current(lsc) [Al |  |  |  |  |  |  |  | 15.44 |  | NOCT |  |  |  |
| Max Power Current(lmp) [A] |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | 14.49 |  |  |  |  |  |
|  |  |  |  |  |  | 14.34 | 14.42 |  | 14.56 | Bifaciality" |  |  |  |
| Irradiation Ratio |  | (rear/front) |  |  |  |  |  |  |  | Fire | Performance | UL Type 29 |  |
| "Bifaciali y=Pmax.re r/Rated maximum static load please take compatibility approve letter between JA Solar and Nextracker for reference. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| tFor Nextracker installations, Pmax.front |  |  |  |  |  |  |  |  |  |  |  |  |  |

CHARACTERISTICS

| Current-V01tage Curve JAM78D40-610/MB |  |  |  |  |  | Power-VoItage Curve JAM78D40-610/MB |  |  |  |  | Cument-Voltage Curve JAM78D40-610/MB |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 600 |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  | 550 | 800W\ma |  |  |  | 14 |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  | IOOOW/m2 |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  | 12 | 1 ooc |  |  |  |  |
|  |  | 800W,'m' |  |  |  | 450 |  |  |  |  | 10 | 2s•c |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  | 40•ac |  |  |  |  |
|  |  |  |  |  |  | 500 | 600W.•m• |  |  |  |  | 550C |  |  |  |  |
|  |  |  |  |  |  | 400 |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  | 350 | 400Wnna |  |  |  |  | 7Yc |  |  |  |  |
|  |  | soow,'m' |  |  |  |  | 200Wfrna |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  | O 250 |  |  |  |  | O 6 |  |  |  |  |  |
| 4 |  |  |  |  |  | 200 |  |  |  |  | 4 |  |  |  |  |  |
|  |  |  |  |  |  | 100 |  |  |  |  |  |  |  |  |  |  |
| 2 |  | 200W,'rn2 |  |  |  | 150 |  |  |  |  | 2 |  |  |  |  |  |
|  | o |  | 20 |  |  | 50 |  | 20 |  |  |  |  | 20 |  |  |  |
|  |  | 10 |  | 3040 | 5060 | o | 10 |  | 3040 | 5060 | O | 10 |  | 40 | 60 |  |
|  |  |  | Voltage(V) |  |  |  |  | Voltage(V) |  |  |  |  | Voltage(V) |  |  |  |

Premium Cells,  Premium Modules